## Sheet1
ImR (or XmR) Control Chart | [6 empty] | We do not have a stable, controlled process. The upper control and lower control limits are exceeded in multiple observations for both the moving range and individual chart.
The measurement system also appears to be in need of improvement. The moving ranges exceed the upper control limit on multiple occasions. This means that this system is at risk of not offering repeatable measurements.
| n = 1 (i.e. 1 data point per day) |  |  | moving Range Chart |  |  |  |  | Individual Chart
Sample # | Data |  |  | mR | mRbar | UCL | LCL |  | x | x bar | UCL | LCL
Day 1 | 0.42872 |  |  |  | 0.16957 | 0.5545 | 0 |  | 0.42872 | 1.3423 | 1.7934 | 0.89122
Day 2 | 1.2198 |  |  | 0.79111 | 0.16957 | 0.5545 | 0 |  | 1.2198 | 1.3423 | 1.7934 | 0.89122
Day 3 | 1.8297 |  |  | 0.60988 | 0.16957 | 0.5545 | 0 |  | 1.8297 | 1.3423 | 1.7934 | 0.89122
Day 4 | 1.8541 |  |  | 0.024428 | 0.16957 | 0.5545 | 0 |  | 1.8541 | 1.3423 | 1.7934 | 0.89122
Day 5 | 1.7742 |  |  | 0.07997 | 0.16957 | 0.5545 | 0 |  | 1.7742 | 1.3423 | 1.7934 | 0.89122
Day 6 | 1.893 |  |  | 0.11878 | 0.16957 | 0.5545 | 0 |  | 1.893 | 1.3423 | 1.7934 | 0.89122
Day 7 | 1.8526 |  |  | 0.040401 | 0.16957 | 0.5545 | 0 |  | 1.8526 | 1.3423 | 1.7934 | 0.89122
Day 8 | 1.7017 |  |  | 0.15082 | 0.16957 | 0.5545 | 0 |  | 1.7017 | 1.3423 | 1.7934 | 0.89122
Day 9 | 1.6376 |  |  | 0.064112 | 0.16957 | 0.5545 | 0 |  | 1.6376 | 1.3423 | 1.7934 | 0.89122
Day 10 | 1.5438 |  |  | 0.093853 | 0.16957 | 0.5545 | 0 |  | 1.5438 | 1.3423 | 1.7934 | 0.89122
Day 11 | 1.8508 |  |  | 0.30703 | 0.16957 | 0.5545 | 0 |  | 1.8508 | 1.3423 | 1.7934 | 0.89122
Day 12 | 1.0029 |  |  | 0.84787 | 0.16957 | 0.5545 | 0 |  | 1.0029 | 1.3423 | 1.7934 | 0.89122
Day 13 | 1.1489 |  |  | 0.14593 | 0.16957 | 0.5545 | 0 |  | 1.1489 | 1.3423 | 1.7934 | 0.89122
Day 14 | 1.1406 |  |  | 0.0083112 | 0.16957 | 0.5545 | 0 |  | 1.1406 | 1.3423 | 1.7934 | 0.89122
Day 15 | 1.1524 |  |  | 0.01179 | 0.16957 | 0.5545 | 0 |  | 1.1524 | 1.3423 | 1.7934 | 0.89122
Day 16 | 1.0198 |  |  | 0.13251 | 0.16957 | 0.5545 | 0 |  | 1.0198 | 1.3423 | 1.7934 | 0.89122
Day 17 | 1.0275 |  |  | 0.0076515 | 0.16957 | 0.5545 | 0 |  | 1.0275 | 1.3423 | 1.7934 | 0.89122
Day 18 | 1.0496 |  |  | 0.02215 | 0.16957 | 0.5545 | 0 |  | 1.0496 | 1.3423 | 1.7934 | 0.89122
Day 19 | 1.0746 |  |  | 0.024933 | 0.16957 | 0.5545 | 0 |  | 1.0746 | 1.3423 | 1.7934 | 0.89122
Day 20 | 1.1182 |  |  | 0.04363 | 0.16957 | 0.5545 | 0 |  | 1.1182 | 1.3423 | 1.7934 | 0.89122
Day 21 | 1.1213 |  |  | 0.0030764 | 0.16957 | 0.5545 | 0 |  | 1.1213 | 1.3423 | 1.7934 | 0.89122
Day 22 | 1.0885 |  |  | 0.03279 | 0.16957 | 0.5545 | 0 |  | 1.0885 | 1.3423 | 1.7934 | 0.89122
|  |  | mRbar = | 0.16957 |  |  |  | x bar = | 1.3423
|  | Constants | Value
|  | E2 | 2.66
|  | D4 | 3.27
|  | D3 | 0
|  | d2 | 1.13